## Instructions
Instuctions
Through periodic vibration monitoring, an air handler supply fan supporting a cleaning room had high vibration readings at the 2X peak in the horizontal direction. Based on the spectrum, it was determined that the motor was misaligned, causing looseness. The looseness caused the bearings to start cutting into the shaft. The fan’s 2 bearings and the shaft were replaced at the end of 2nd shift, which took 12 hours. After the repairs were made, the Reliability Engineer noted the following:
There was no redundancy to the supply fan air handler
Unscheduled downtime for the cleanroom would be $20,000/hr.
The site fills vials in the cleanroom 7 days a week, from 6am to 10pm
The air handler was in a medium-traffic area, and determined that there would be a 60% chance of identifying the failure without PdM before catastrophic
Catastrophic failure would have resulted in additional rotor damage; the motor was not in stock, and would have taken 24 hours to expedite, with an additional 6 hours of repairs
Use the PdM Finds Log to enter the data and calculate the avoided lost production. What actions need to be taken to ensure these numbers are taken seriously?

## PdM Finds Log
Site Cost Factors
"Straight Time" Labor Rate (Fully Loaded) |  | 100 | Per Hour
Overtime Labor Rate (Fully Loaded) |  | 150 | Per Hour
[5 empty] | Cost Avoidance Calculation Factors | [13 empty] | Actual Cost Calculation Factors | [7 empty] | Total
[5 empty] | Avoided Lost Production | [8 empty] | Avoided Labor Costs |  | Avoided Parts Costs |  |  | Actual Lost Production |  | Actual Labor Costs |  |  | Actual Parts Costs
[5 empty] | % | ($/hr) | % |  | Hours | Hours | % | $ | $ | Hours | $ | $ | $ | $ | Hours | $ | Hours | Hours | $ | $ | $ | $ | $
WO# | Description | Asset | PdM Used to Identify | Date | % of Time Asset Is Supporting Production | Cost of Downtime | Estimated Probability of Identifying before Catastrophic Failure | Were Probable Parts Needed for Catastrophic Failure in Stock? | Time to Expedite Parts | Additional Downtime Needed for Catastrophic Repair | Estimated Probability that Catastrophic Failure would have resulted in lost raw materials | Cost of Raw Materials | Total Avoided Lost Production Cost | Add'l Labor Hours needed for Catastrophic Repair | Total Avoided Labor Costs | Cost of Additional Parts/Tools/Service Needed if Catastrophic Repair | Cost to Expedite Parts for Catastrophic Repair | Total Avoided Parts Costs | Lost Scheduled Production for Actual Repair | Total Cost of Actual Lost Production | Straight Time Labor Hours Spent on Repair | Overtime Labor Hours Spent on Repair | Total Labor Cost for Actual Repair | Cost of Parts Needed for Actual Repair | Actual Shipping costs for Actual Repair | Total Parts Cost for Actual Repair | Value of Each Individual "PdM" Find
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0
[13 empty] | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 | 0

## Summary Sheet
Summary Sheet: Total Cost Avoidance for PdM "Finds" (Cost Avoidance - Actual Costs)
[5 empty] | Cost Avoidance |  |  | Actual Costs |  |  | Total: $0
WO# | Description | Asset | Column1 | Date | Total Avoided Lost Production Cost | Total Avoided Labor Costs | Total Avoided Parts Costs | Total Cost of Actual Lost Production | Total Labor Cost for Actual Repair | Total Parts Cost for Actual Repair | Value of Each Individual "PdM" Find
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0